## Sheet1
Sl. No. | Name Of Company | Target Segment - I/II/III/IV | Approved Eligibile Product Name | Version/ Model name | Specification of each Version/ Model name | Website of Company | Broucher and link of product details
1 | Wipro GE Medical Device Manufacturing Private Limited | II | Optima IGS 320 | Optima IGS 320 with AutoRight | Generator - 100 kW high-frequency Jedi three-phase power unit Tube - 3.7 MHU , Grid Pulsed Tube , Triple Focus Spot Digital Detector - 20.5 x 20.5 cm ( 29 cm Diagonal) ; GE made Monolith design with 80% DQE C Arm - 107 cm Depth Offset 3 Axis AutoRight - Industry's first Artificial Intelligence driven, neural network-based image chain Acquisition Fluoro - 30 fps, 15 fps, 7.5 fps and 3.75 fps, Cine - 30 fps, 15 fps and 7.5 fps Online DSA - 0.5 - 7.5 fps Applications - QCA ( Table side & Control room ) Stent Viz , Stentvessel Viz , High Contrast Fluoro , 2D Roadmap , Innova Chase , Virtual Collimation ,Dual Fluoro Table - 300 cm Long float table Advanced Applications - Rotational Angiography , 3D , 3D CT HD , 2D Perfusion Accesories - Upper Body Sheild , Exam Light , Table mounted lead Sheild , UPS , lead Aprons , Collars Table Side Accesories - Gantry and Detector Controls , Touch Screen Dose - Dose personalization , Integrated dose monitoring and Dose Reporting - | https://www.gehealthcare.in/ | Brochure Attached